## ✅ POE EXAM 1: Answer Guide

- Elements of a Transmission Line: Conductor, Insulators, Line supports, Protective devices (lightning arresters), and Earth wires.

- Transmission Line Types:

  - Short: <80 km, lumped parameters

  - Medium: 80–250 km, nominal π or T models

  - Long: >250 km, distributed parameters

- Transmission Line: A system of conductors used to transmit electrical energy over long distances.

- Types of Line Supports: Poles, Towers, Latticed steel towers, and Reinforced concrete poles.

- Materials for Line Supports: Wood, Steel, Reinforced concrete.

- Transmission Line Conductors: ACSR, AAC, AAAC, Copper, and Steel-reinforced aluminum.

- Factors Affecting Sag: Conductor weight, Span length, Wind & ice loading, Temperature, Tension.

- Electrical Joints: Britannia, Western union, Married joint, Tee joint.

- Types of Electrical Load: Resistive, Inductive, Capacitive.

- Transmission Line Termination: Method of connecting the line to a device/load or grounding.

- Types of Termination: Indoor, Outdoor, Cable termination.

- Importance: Prevents arcing, ensures proper connection, provides safety.

- AC vs DC:

- AC: Alternating direction & magnitude

- DC: Constant magnitude & direction

- AC Pros: Easy to step voltage, less loss over distance
Cons: More complex protection, reactive power issues

- DC Pros: No reactive loss, efficient over long distances
Cons: Costly equipment, complex to step voltage

- Testing: Insulation test, continuity, earth resistance

(17–28 match Exam 2, Section A) — see below for answers.

## ✅ POE EXAM 2: Section A (Answers)

- Power Transmission Systems: AC overhead, AC underground, DC overhead, DC underground.

- Components: Conductors, Insulators, Towers/poles, Ground wires.

- Pin-Type Insulator Advantages: Simple design, low cost, easy installation, suitable for low voltages.

- Suspension Insulators Purposes: Withstand high voltages, allow flexibility and mechanical support.

- String Efficiency Improvement:

  - Using grading rings

  - Using longer cross arms

  - Increasing number of discs

- Corona Effect Reduction:

  - Use larger conductor diameter

  - Use bundled conductors

- Sag: Vertical distance between conductor and straight line between two supports.

- Factors Affecting Sag: Tension, Temperature, Loading (ice/wind).

- Transmission Line Classifications:

  - Low voltage: <1kV

  - Medium: 1–69kV

  - High: 69–230kV

  - Extra high: >230kV

- Conductor Material Properties: High conductivity, High tensile strength, Corrosion resistance, Lightweight.

## ✅ POE EXAM 2: Section B (Brief Guidance)

- Q11(b): Voltage across post insulator units → add to get bus-bar voltage.

- Q12(b): Use Nominal-T model equations.

- Q14(b): Use sag formula with wind & ice loading included.

## ✅ POE EXAM 3: Section A (Answers)

- High Voltage Line Considerations: Clearance, insulation, voltage drop, corona loss.

- Vibration Effects: Fatigue, wear at clamps, conductor breakage, loss of tension.

- HV Line Elements: Conductors, Insulators, Towers, Earth wires.

- Surge Causes: Lightning, switching, load shedding, faults.

- Transmission Line Types:

  - Short: <80 km, negligible capacitance

  - Long: >250 km, full distributed parameters

- MCBs vs Fuses:

  - Reusable

  - Faster response

  - Accurate trip settings

  - Safer operation

- Current Rating: Max safe operating current.
Fusing Factor: Fuse current ÷ rated current.

- Tensions Affecting Conductors: Wind, Ice, Temperature, Span length.

- Switch Gear Requirements: Reliability, speed, interruption capacity.

- Corona Reduction:

- Larger conductors

- Bundled conductors

- Smooth surfaces

- Higher altitude correction

## ✅ POE EXAM 3: Section B (Quick Reference)

- Q11(c):

  - Ratio = Middle/Top = 11/8

  - Use total voltage = sum of unit voltages

  - String efficiency = (Total voltage)/(n × max unit voltage) × 100

- Q13(c): Use symmetrical components method.

- Q14(c): Use Peek’s formula for corona calculations.

Let’s break it down and make it simple and clear, section by section.

I’ll start with POE EXAM 1,

## ✅ POE EXAM 1 – SIMPLE ANSWERS

### 1. Five elements of a transmission line

- Conductors

- Insulators

- Line supports

- Protective devices (like lightning arresters)

- Earth wire

### 2. Difference between short, medium, and long transmission lines

- Short: Less than 80 km

- Medium: 80–250 km

- Long: More than 250 km

### 3. What is a transmission line?

It’s a system that carries electric power over long distances.

### 4. Four types of line supports

- Wooden poles

- Steel towers

- RCC poles

- Latticed towers

### 5. Three materials for making line supports

- Wood

- Steel

- Concrete

### 6. Five types of transmission conductors

- ACSR

- Copper

- All-aluminum

- AAAC

- Steel-core aluminum

### 7. Factors affecting sag

- Temperature

- Wind pressure

- Weight of conductor

- Span length

- Ice loading

### 8. Four types of electrical joints

- Britannia joint

- Western Union joint

- Tee joint

- Married joint

### 9. Three types of electrical loads

- Resistive (e.g. heaters)

- Inductive (e.g. motors)

- Capacitive (e.g. capacitor banks)

### 10. What is transmission line termination?

It means connecting the end of the transmission line to a device or ground.

### 11. Three types of termination

- Indoor

- Outdoor

- Cable type termination

### 12. Importance of termination

To ensure safe and reliable connection.

### 13. AC vs DC transmission

- AC: Power changes direction; easy to step up/down

- DC: Flows in one direction; less loss over long distance

### 14. AC Transmission

- ✅ Advantages: Easy voltage control, transformers can step up/down

- ❌ Disadvantages: Has more losses, reactive power

### 15. DC Transmission

- ✅ Advantages: Less power loss, better for long distances

- ❌ Disadvantages: More expensive equipment, harder to change voltage

### 16. Testing in transmission lines

- Continuity test

- Insulation test

Let’s keep it flowing, step by step. You’re doing awesome

## ✅ POE EXAM 2 – SIMPLE ANSWERS

### 🔹 SECTION A – Answer All (40 Marks)

- Systems of power transmission

- AC overhead

- AC underground

- DC overhead

- DC underground

- Components of overhead transmission line

- Conductor

- Insulators

- Towers/poles

- Earth/ground wire

- Advantages of pin-type insulator

- Simple design

- Cheap to install

- Easy maintenance

- Suitable for low voltages

- Purpose of suspension insulators

- Support high voltage conductors

- Provide flexibility and withstand mechanical load

- Methods of improving string efficiency

- Use of grading rings

- Using longer cross-arms

- Increasing number of insulator discs

- Methods of reducing corona effect

- Use thicker/larger diameter conductors

- Use bundled conductors

- What is sag? It’s the vertical distance between the highest point of support and the lowest point of the conductor.

- Factors affecting sag

- Temperature

- Weight of conductor

- Classifications of overhead lines

- Low voltage: < 1kV

- Medium voltage: 1–69kV

- High voltage: 69–230kV

- Extra high voltage: >230kV

- Properties of conductor materials

- High conductivity

- Strong/tensile strength

- Corrosion resistance

- Lightweight

### 🔹 SECTION B – Answer Any 3 (60 Marks)

Just a simple summary of what’s expected:

- (a) Explain how string efficiency is improved by:

  - Grading units (different disc sizes)

  - Guard ring (reduces uneven voltage)

- (b) Add the given voltages to find bus-bar voltage:

  - 13.1 kV (bottom) + 11 kV (middle) + unknown top unit = Total

- (a) Properties of line supports:

  - Should be strong

  - Weather resistant

  - Good height for clearance

- (b) Use nominal-T method formulas to calculate:

  - Efficiency = (Output/Input) × 100

  - Regulation = (No-load voltage – Full-load voltage) ÷ Full-load voltage × 100

- (a) Importance of transposition:

  - Balances line inductance

  - Reduces interference

  - Minimizes voltage unbalance

- (b) Bundled conductor’s vs single:

  - Less corona

  - Lower losses

  - Increased capacity

- (c) Tests:

  - Insulation test

  - High voltage withstand test

  - Continuity test

  - Sag and tension test

- (a) Assumptions when calculating sag:

  - Supports are at equal height

  - Conductor is flexible

  - Load is evenly distributed

- (b) Given data → use sag formula with wind & ice loading.

## ✅ POE EXAM 3 – SIMPLE ANSWERS

### 🔹 SECTION A – Answer All (40 Marks)

- Considerations for High Voltage  lines

- Proper insulation

- Right conductor size

- Enough clearance

- Minimize losses

- Effects of vibration

- Loosens fittings

- Damages conductor

- Creates noise

- Causes fatigue/failure

- Elements of High Voltage line

- Conductors

- Insulators

- Towers/poles

- Ground wire

- Causes of voltage surges

- Lightning

- Switching

- Faults

- Load variations

- Types of power lines

- Short: Less than 80 km

- Long: More than 250 km

- MCBs vs fuses

- Reusable

- Faster trip

- Safer

- More accurate

- Define:

- Current rating: Max safe current

- Fusing factor: Fuse current ÷ normal current

- Tensions affecting conductors

- Wind

- Ice load

- Temperature

- Span length

- Requirements of switchgear

- Reliable

- Fast operation

- Safe

- Can interrupt large currents

- Ways to reduce corona

- Use bundled conductors

- Use smooth surface conductors

- Increase spacing

- Use larger conductors

### 🔹 SECTION B – Answer Any 3 (60 Marks)

- (a) Line support properties:

  - Strong

  - Corrosion resistant

  - Good height

  - Durable

- (b) Types of insulators:

  - Pin-type

  - Suspension-type

  - Strain insulators

- (c) Use given voltages to find:

  - Capacitance ratio

  - Line voltage = sum of all discs

  - String efficiency = (Total ÷ number × max disc voltage) × 100

- (a) Definitions:

  - Voltage regulation: Change in voltage from no-load to full-load

  - Transmission efficiency: (Output/Input) × 100

- (b) Phase sequence:

  - Positive: A → B → C

  - Negative: A → C → B
Use phasor diagrams

- (c) Vector diagrams of:

  - Short

  - Medium

  - Long lines

- (a) Transmission line constants:

  - R = Resistance

  - L = Inductance

  - C = Capacitance

- (b) Skin effect: AC current moves to outer part of conductor
Factors:

  - Frequency

  - Conductor size

  - Material

  - Shape

- (c) Use symmetrical components to get:

  - Positive

  - Negative

  - Zero sequence

- (a) Transmission line tests:

  - Continuity

  - Voltage withstands

  - Sag/tension

- (b) Corona effect: Ionization of air near conductors causing light and sound

- (c) Use formulas to find:

  - Disruptive critical voltage

  - Visual critical voltage

  - Corona power loss

## ✅ POE EXAM 1 – CONTINUED FROM Q17

### 17. Four systems of power transmission

- AC Overhead

- AC Underground

- DC Overhead

- DC Underground

### 18. Four important components of overhead transmission line

- Conductor

- Insulators

- Line supports (like poles or towers)

- Earth wire

### 19. Four advantages of pin-type insulators

- Simple construction

- Low cost

- Easy to install

- Suitable for voltages up to 33kV

### 20. (Same as 19, just continued on a new line)

So no need to repeat — already answered.

### 21. Two purposes of suspension insulators

- Used for high voltage lines (above 33kV)

- They provide flexibility and greater mechanical strength

### 22. Three methods of improving string efficiency

- Use of grading rings

- Use of longer cross-arms

- Capacitance grading (different-sized discs)

### 23. Two methods of reducing corona effect

- Use of bundled conductors

- Use of larger diameter conductors

### 24. (Same as 23 – repeated formatting)

So already covered above.

### 25. Define “sag”

The vertical distance between the straight line joining two supports and the lowest point of the conductor.

### 26. Two factors affecting sag

- Temperature (hot weather = more sag)

- Weight of conductor or loading (ice, wind)

### 27. Three classifications of overhead lines with voltage levels

- Low Voltage – below 1kV

- Medium Voltage – 1kV to 69kV

- High Voltage – 69kV to 230kV

- Extra High Voltage – above 230kV

(Any 3 from these is okay)

### 28. Four properties of conductor materials

- High electrical conductivity

- High mechanical strength

- Corrosion resistant

- Lightweight

### 29. Corona Loss Calculation

Let me know if you want me to solve this step-by-step — it needs formulas:

- Use Peek’s formula

- Given: radius, spacing, pressure, temperature, m₀ = 0.85

### 30. Sag Calculation with wind & ice

Also requires formulas. Given:

- Span = 275 m

- Weight = 0.865 kg/m

- Diameter = 1.96 cm

- Ice thickness = 1.27 cm

- Wind pressure = 3.9 g/cm²

- Factor of safety = 2

- Ice density = 0.91 g/cm³

Great — let's solve Q29 and Q30 from POE Exam 1 step by step in a clear, simple way.

Great — let's solve Q29 and Q30 from POE Exam 1 step by step in a clear, simple way.

## ✅ QUESTION 29: Corona Loss Calculation

### 📌 Given Data:

- Phase voltage (line voltage / √3):
V=220,0003=127,017 VV = \frac{220,000}{\sqrt{3}} = 127,017 \text{ V}

- Frequency f=50 Hzf = 50 \text{ Hz}

- Radius of conductor r=1.5 cm=0.015 mr = 1.5 \text{ cm} = 0.015 \text{ m}

- Distance between conductors d=2 md = 2 \text{ m}

- Temperature t=40∘Ct = 40^\circ C

- Pressure p=76 cm Hgp = 76 \text{ cm Hg}

- Surface factor m0=0.85m_0 = 0.85

### 🧮 Step 1: Calculate Air Density Factor (δ)

δ=3.92×p273+t=3.92×76273+40=297.92313≈0.952\delta = \frac{3.92 \times p}{273 + t} = \frac{3.92 \times 76}{273 + 40} = \frac{297.92}{313} \approx 0.952

### 🧮 Step 2: Calculate Disruptive Critical Voltage (Vd)

Vd=21.1⋅m0⋅δ⋅r⋅ln⁡(dr)V_d = 21.1 \cdot m_0 \cdot \delta \cdot r \cdot \ln\left(\frac{d}{r}\right) Vd=21.1⋅0.85⋅0.952⋅0.015⋅ln⁡(20.015)V_d = 21.1 \cdot 0.85 \cdot 0.952 \cdot 0.015 \cdot \ln\left(\frac{2}{0.015}\right) =21.1⋅0.85⋅0.952⋅0.015⋅ln⁡(133.33)= 21.1 \cdot 0.85 \cdot 0.952 \cdot 0.015 \cdot \ln(133.33) ln⁡(133.33)≈4.89\ln(133.33) \approx 4.89 Vd≈21.1⋅0.85⋅0.952⋅0.015⋅4.89≈1,324 V (approx.)V_d \approx 21.1 \cdot 0.85 \cdot 0.952 \cdot 0.015 \cdot 4.89 \approx 1,324 \text{ V (approx.)}

### 🧮 Step 3: Calculate Corona Power Loss (using Peek’s Formula)

P=241×10−5⋅(f+25)⋅r⋅(Vphδln⁡(d/r)−Vd)2 kW/km/phaseP = 241 \times 10^{-5} \cdot (f + 25) \cdot \sqrt{r} \cdot \left( \frac{V_{ph}}{\delta \ln(d/r)} - V_d \right)^2 \ \text{kW/km/phase}

## ✅ QUESTION 30: Sag Calculation

### 📌 Given:

- Span L=275 mL = 275 \text{ m}

- Conductor diameter = 1.96 cm → radius = 0.98 cm = 0.0098 m

- Weight of conductor w=0.865 kg/mw = 0.865 \text{ kg/m}

- Ice thickness = 1.27 cm = 0.0127 m

- Wind pressure = 3.9 g/cm² = 39 kg/m²

- Ultimate strength = 8060 kg

- Safety factor = 2

- Ice density = 0.91 g/cm³ = 910 kg/m³

### 🧮 Step 1: Calculate effective weight per meter

#### a) Weight of ice per meter:

Outer radius with ice=0.0098+0.0127=0.0225 m\text{Outer radius with ice} = 0.0098 + 0.0127 = 0.0225 \text{ m} Ice volume per meter=π(0.02252−0.00982)⋅1=π(0.000506−0.000096)=π⋅0.00041≈0.00129 m3\text{Ice volume per meter} = \pi (0.0225^2 - 0.0098^2) \cdot 1 = \pi(0.000506 - 0.000096) = \pi \cdot 0.00041 \approx 0.00129 \text{ m}^3 Ice weight per meter=0.00129⋅910≈1.174 kg/m\text{Ice weight per meter} = 0.00129 \cdot 910 \approx 1.174 \text{ kg/m}

#### b) Wind force:

Projected area per meter=diameter with ice=0.045 m\text{Projected area per meter} = \text{diameter with ice} = 0.045 \text{ m} Wind pressure=39 kg/m2⇒Wind force=39⋅0.045=1.755 kg/m\text{Wind pressure} = 39 \text{ kg/m}^2 \Rightarrow \text{Wind force} = 39 \cdot 0.045 = 1.755 \text{ kg/m}

#### c) Total effective weight:

wtotal=(0.865+1.174)2+(1.755)2=(2.039)2+3.08≈7.23≈2.69 kg/mw_{total} = \sqrt{(0.865 + 1.174)^2 + (1.755)^2} = \sqrt{(2.039)^2 + 3.08} \approx \sqrt{7.23} \approx 2.69 \text{ kg/m}

### 🧮 Step 2: Calculate Sag

Allowable tension=80602=4030 kg\text{Allowable tension} = \frac{8060}{2} = 4030 \text{ kg} Sag (y)=w⋅L28T=2.69⋅27528⋅4030\text{Sag (y)} = \frac{w \cdot L^2}{8T} = \frac{2.69 \cdot 275^2}{8 \cdot 4030} =2.69⋅7562532240=203379.37532240≈6.31 m= \frac{2.69 \cdot 75625}{32240} = \frac{203379.375}{32240} \approx 6.31 \text{ m}

### ✅ Final Sag = 6.31 meters