3 phase motors

Contactors

Auxiliary contacts

Push buttons =>start and stop push buttons

Conductors

Over load (OL)

- Direct online

- Star delta power =>Manual and Automatic

- Forward reverse

- In star delta, Forward reverse, etc. we need to use auxiliary contacts to prevent the motor from starting at the same time…the Auxiliary contacts are connected at the NC …this is normally on the connections for star delta.

When starting the motors they draw more current than when running.

Starting current >running current.

The star configuration reduces the starting current (to a third {1/3} of delta) protecting the motor and power supply…

Torque

Drops to 33% of full load and 58% of line voltage.

Torque (star) mode

good for reducing current for heavy loads.

Torque (delta) mode

Needed to accelerate high inertia loads

Torque is at 100%.

Star Delta has around 1/3 of inrush current compared to Direct on Line (DOL) starter.

Types of timers.

Magnetic timer and Pneumatic timer.