CONTINOUS ASSESSMENT TEST 2: ELECTRICAL PRINCIPLES

WRITTEN ASSESSMENT

INSTRUCTIONS TO CANDIDATES

Answer ALL Questions

Marks for each question are as indicated.

Submission Date: 14th March 2025

Time          : 9:00am

Indicate Name and Admission Number on the answer sheet

- Explain the following terms in your own words                                                    (5 Marks)
a) Lightning Density
b) Zone of Protection
c) Refrigeration Effect
d) Refrigerant
e) Lightning Strike Attachment Point

- A school building has been struck by lightning multiple times. Suggest two key components of a lightning protection system that could be installed and justify your choices.                                                                                                                   (4 Marks)

- Differentiate between a direct lightning strike and a side flash strike. Use a real-world example.                                                                                                                  (3 Marks)

- Explain the role of external work in refrigeration as per the Second Law of Thermodynamics.                                                                                                   (3 Marks)

- A company is installing surge protection devices in an office building. Explain their purpose and how they contribute to lightning protection.                                      (3 Marks)

- Define refrigeration and briefly describe its working principle.                            (3 Marks)

- You are tasked with designing a lightning protection system for a tall communication tower. Identify one type of lightning arrester that would be suitable and explain why.     (3 Marks)

- What factors should be considered when selecting a type of lightning arrester for a specific environment? Provide at least three factors and explain their significance.              (6 Marks)